## Slide 1: Sequence Quality Assessment

## Slide 2: FastQC - Summarizing data
Designed for Illumina data.
What does it tell you?
  Total read pairs
  Sequence length
  Quality Score Encoding
  Average GC%
  Base quality along the read
  Nucleotide % along the read
  Sequence GC content
  Duplication %
  Adapter content
Look at MultiQC for multiple samples

## Slide 3: FastQC

## Slide 4: FastQC

## Slide 5: FastQC
Q(20) => Error probability = 0.01
Q(30) => Error probability = 0.001
Q(40) => Error probability = 0.0001
Phred Quality Score
Blue line = mean quality
Normal: Quality tends to degrade
near end of read.
1st read pair file often has slightly
better scores than 2nd read pair file.
Good Quality
Reasonable Quality
Poor Quality
Illumina data

## Slide 6: FastQC
PacBio data

## Slide 7: FastQC

## Slide 8: FastQC
Expected Result: First few bases are not quite uniform.
Caused by Illumina primers. Results in minor fragment
selection bias.
Note: Trimming bases hides the bias. It does not fix it.
Expected: Uniform distribution at half of GC%
Expected: Uniform distribution at half of AT%

## Slide 9: FastQC

## Slide 10: FastQC
Expected: Normal/Gaussian Distribution
Sharp peak indicates
specific motif. Adapters are the usual suspect.
This might be contamination or a feature of the genome
Wider or multiple distributions suggest contamination.

## Slide 11: FastQC
PacBio data

## Slide 12: FastQC

## Slide 13: FastQC
First 100,000 sequences tracked until end of file
Exact sequence match
Sequences over 75bp are truncated to 50bp
Percentage of sequences with duplication y
Peak shows 10%+ sequences with high duplication levels
If peak persists in the red trace then there might be severe technical duplication or contamination
How much data is left after deduplication.
Red trace should show sequences in library are diverse. Many low frequency sequences.

## Slide 14: FastQC

## Slide 15: FastQC
First 100,000 sequences tracked until end of file
Lists sequence that is more than 0.1%
Overrepresented sequences are matched against known contaminants.
Match hits are not conclusive, but indicative.
Matches must be >20bp and only 1 mismatch.
Adapter content specifically checks k-mers for matches to known adapter sequence.

## Slide 16: FastQC

## Slide 17: FastQC
Is a k-mer over-represented along the length of a read? All k-mers should have equal probability of occurring at any position in the read.
K-mers are consistent with Illumina TruSeq adapter sequence.
Default k is 7. K-mer size can be increased with option -k
Over-representation at the beginning of the read implies many adapters with no DNA fragment in between.

## Slide 18: FastQC
K-mers consistent with adapter sequences and barcodes/indices
Heavy adapter contamination consistent with short DNA fragments between adapters

## Slide 19: Contamination
Many sources of contamination
  Unexpected organisms
    Bad reagents
    Lab contamination
    Sample cross over
    …
  Artificial constructs
    Adapters
    Vectors
    Spike-in
Detection depends on your database.
Many software:
  Fastq Screen
  Kraken
  Kaiju
  Blast
  DeconSeq

## Slide 20: Contamination - FastQ Screen

## Slide 21: Contamination Analyses
Generalized search with Blast or Kaiju against nt/nr database
Archea, Bacteria, and Virus search with Kraken.
Kraken, Kaiju, and Blast searches can be visualized with Krona.

## Slide 22: Contamination Analyses
Read based contamination analyses are tricky
  Entirely dependent on your reference database
    Published contaminated sequence increases false positives
  Short k-mer matching increases alignment to multiple targets
  Unrelated organisms can contain similar strings of nucleotides
Nasko et al. 2018

## Slide 23: Spike-in sequence - Control reads
Spike-ins are useful for QC but are often not filtered out.
  Illumina: Modified PhiX genome.
  PacBio: 2kb Lambda phage segment.
Control reads are longer than Sample reads indicating good sequencing but bad Sample DNA quality

## Slide 24: Filtering data
How to clean read data
  Trimming
  Filtering by alignment

## Slide 25: Trimming reads
Remove adapter read through.
  Update to date list of Illumina adapters: https://support.illumina.com/downloads/illumina-customer-sequence-letter.html

## Slide 26: Trimming reads
Highlighted primer sequence shows the start of adapters in Illumina paired reads and the symmetric nature of the pattern (check you’re trimming correct adapter).

## Slide 27: Trimming reads
Remove poor quality reads
My opinion: Don’t trim on quality. Let the assembler correction and consensus correction deal with it.

## Slide 28: Trimming reads

## Slide 29: Trimming reads
Many tools available
  Trimmomatic
  CutAdapt
  AlienTrimmer
  Sickle
  Trim Galore
  Scythe
  Prinseq
  …
Warning: Some assemblers expect untrimmed input.
  Allpaths-LG
  Mira
  Spades
BBMerge can be used to discover adapters.

## Slide 30: Adapter Trimming
SMRTbell adapter:
ATCTCTCTCTTTTCCTCCTCCTCCGTTGTTGTTGTTGAGAGAGAT

## Slide 31: Duplication Removal
Why do duplicates arise?
  Optical duplicates (amplified cluster mistaken for multiple clusters)
  PCR duplicates
Why are duplicates bad?
  Poor overlap information
  Increased complexity, computation time, and resources
How to remove duplicates:
  Prinseq
  FastUniq
  ParDRe
  …

## Slide 32: Reference based filtering
Contaminants identified from Blast, Kraken, Kaiju, etc imply available references.
Reads can be aligned to these sequences.
Filter out reads that align uniquely to those sequences.
  This can still over-filter.
Alternatively, filter contaminants after assembly.

## Slide 33: Summary
FastQC
  Lots of diagnostic plots
Trim adapter sequence.
Remove duplicates from heavily duplicated data.
Treat contamination analyses as suggestive.
Remove heavy contamination.