## Slide 1: Quality Assessment of sequencing data

## Slide 2: Outline
Why QC?
  Bad data = bad assembly
    Partial / missing data?
    Is there enough data?
    Did I get what I expect?
    Can I assemble it?
    Do I need to change my analysis workflow?
    Is it the correct type?
    Are there biases?
    Is there contamination?
  Most checks can be made before assembly and assembly validation
Focus:
  Illumina data (PE + MP)
  Pacbio data
  Nanopore data

## Slide 3: First steps
Make sure your data is whole.
  File checksums ensure data integrity
    MD5
      $ md5sum file1.fastq.gz # before 823fc8b0ca72c6e9bd8c5dcb0a66ce9b file1.fastq.gz
      $ md5sum -c checksums.md5 # after file1.fastq.gz: OK file2.fastq.gz: OK file3.fastq.gz: FAILED md5sum: WARNING: 1 of 3 computed checksums did NOT match
  Calculate file checksums before transfer.
  Validate checksums against the transferred files after the transfer.

## Slide 4: Illumina Sequencing
Paired end Illumina library

## Slide 5: Illumina Sequencing
Mate pair Illumina library

## Slide 6: Format Check
Check the format
  $ zcat file1.fastq.gz | head @HWI-ST486:212:D0C8BACXX:6:1101:2365:1998 1:N:0:ATTCCT CTTATCGGATCGATCCCAGTTTGGGCTTGTAAACGGTGAATCCTCAAAGACCACCAATGTTG + CCCFFFFFHHHHHJJJJJJHIJIIJGGJGFEGIGHIBFGHJIJIICHIIIDHGGIGIGHEFG @HWI-ST486:212:D0C8BACXX:6:1101:2365:1998 2:N:0:ATTCCT TAACCGAGCAAACAAAAGTTGGTTGTCACAAATTGTAATGACCTGATTAAACTTGATTTTTT + CCCFFFFFHHHHHJIIIJHIJJHIJJJJJJJJJJJIJJJIJJJJJIIIJJIJJJJGIJJJJH

## Slide 7: Do I have enough data?
What is my expected genome size?
What depth of coverage should I expect?
  Illumina:
    100x coverage in total
Coverage = Number of bases sequenced / Estimated genome size

## Slide 8: Calculating data quantity
FastQC / MultiQC summary reports
Third party scripts
Command line calculation (my favourite way)
  Can use Seqtk to convert files to fasta
  zcat *.fastq.gz | seqtk seq -A - | grep -v “^>” | tr -dc “ACGTNacgtn” | wc -m
    zcat ( concatenates the compressed fastq files into one stream )
    seqtk ( converts to fasta format and drops reads less than 10k )
    grep ( -v excludes lines starting with “>”, i.e. fasta headers )
    tr ( -dc removes any characters not in set “ACGTNacgtn” )
    wc ( -m counts characters )
  parallel ‘seqtk seq -A {} | grep -v “^>” | tr -dc “ACGTNacgtn” | wc -m’ ::: *.fastq.gz | paste -sd+ | bc -l

## Slide 9: Calculating data quantity
How much data is too much data?
  Greater than 200X coverage is considered extreme.
Why is too much data bad?
  Increased computation time and resources
  Errors begin to compound and start to look like real data.
  Assemblies become more fragmented and inaccurate.
How should I subsample?
  Use a random fraction of the reads maintaining read pairing.
    E.g. Use the same seed (-s) and give the fraction (0.1) in Seqtk. seqtk sample -s100 read1.fq 0.1 > sub1.fq seqtk sample -s100 read2.fq 0.1 > sub2.fq
  Normalize uneven coverage (e.g. bbnorm)

## Slide 10: FastQC
What does it tell you?
  Total read pairs
  Sequence length
  Quality Score Encoding
  Average GC%
  Base quality along the read
  Nucleotide % along the read
  Sequence GC content
  Duplication %
  Adapter content
Look at MultiQC for multiple samples

## Slide 11: FastQC

## Slide 12: FastQC

## Slide 13: FastQC
Q(20) => Error probability = 0.01
Q(30) => Error probability = 0.001
Q(40) => Error probability = 0.0001
Phred Quality Score
Blue line = mean quality
Normal: Quality tends to degrade
near end of read.
1st read pair file often has slightly
better scores than 2nd read pair file.
Good Quality
Reasonable Quality
Poor Quality

## Slide 14: FastQC

## Slide 15: FastQC
Expected Result: First few bases are not quite uniform.
Caused by Illumina primers. Results in minor fragment
selection bias.
Note: Trimming bases hides the bias. It does not fix it.
Expected: Uniform distribution at half of GC%
Expected: Uniform distribution at half of AT%

## Slide 16: FastQC

## Slide 17: FastQC
Expected: Normal/Gaussian Distribution
Sharp peak indicates
specific motif. Adapters are the usual suspect.
This might be contamination or a feature of the genome
Wider or multiple distributions suggest contamination.

## Slide 18: FastQC

## Slide 19: FastQC
First 100,000 sequences tracked until end of file
Exact sequence match
Sequences over 75bp are truncated to 50bp
Percentage of sequences with duplication y
Peak shows 10%+ sequences with high duplication levels
If peak persists in the red trace then there might be severe technical duplication or contamination
How much data is left after deduplication.
Red trace should show sequences in library are diverse. Many low frequency sequences.

## Slide 20: FastQC

## Slide 21: FastQC
First 100,000 sequences tracked until end of file
Lists sequence that is more than 0.1%
Overrepresented sequences are matched against known contaminants.
Match hits are not conclusive, but indicative.
Matches must be >20bp and only 1 mismatch.
Adapter content specifically checks k-mers for matches to known adapter sequence.

## Slide 22: FastQC

## Slide 23: FastQC
Is a k-mer over-represented along the length of a read? All k-mers should have equal probability of occurring at any position in the read.
K-mers are consistent with Illumina TruSeq adapter sequence.
Default k is 7. K-mer size can be increased with option -k
Over-representation at the beginning of the read implies many adapters with no DNA fragment in between.

## Slide 24: FastQC
K-mers consistent with adapter sequences and barcodes/indices
Heavy adapter contamination consistent with short DNA fragments between adapters

## Slide 25: Trimming reads
Why trim reads?
  Remove adapter read through.
  Update to date list of Illumina adapters: https://support.illumina.com/downloads/illumina-customer-sequence-letter.html

## Slide 26: Trimming reads
Why trim reads?
  Remove poor quality reads

## Slide 27: Trimming reads
Many tools available
  Trimmomatic
  CutAdapt
  AlienTrimmer
  Sickle
  Trim Galore
  Scythe
  Prinseq
  …
Warning: Some assemblers expect untrimmed input
  Allpaths-LG
  Mira

## Slide 28: Trimming reads
Trimmomatic: java -jar trimmomatic-0.36.jar PE -phred33 input_forward.fq.gz input_reverse.fq.gz output_forward_paired.fq.gz output_forward_unpaired.fq.gz output_reverse_paired.fq.gz output_reverse_unpaired.fq.gz ILLUMINACLIP:TruSeq3-PE.fa:2:30:10 LEADING:3 TRAILING:3 SLIDINGWINDOW:4:15 MINLEN:36
BBMerge can be used to discover adapters: bbmerge.sh in=reads.fq outa=adapters.fa
Fasta file of sequences to remove (adapters, linkers, etc)
Library type
Quality Score encoding
Input file pair
Output
How to trim and
what to keep

## Slide 29: Duplication Removal
Why do duplicates arise?
  Optical duplicates (amplified cluster mistaken for multiple clusters)
  PCR duplicates
Why are duplicates bad?
  Poor overlap information
  Increased variance of coverage
  Increased computation time and resources
How to remove duplicates:
  Prinseq
  FastUniq
  ParDRe
  …

## Slide 30: PacBio Sequencing

## Slide 31: PacBio Sequencing

## Slide 32: PacBio Sequencing
The subreads fastq file contains all the subreads from a SMRT movie.
The reads from a ZMW after adapter removal are oriented in the direction forward, reverse, forward, and so on.
Read Quality (RQ) Assignment: A trained prediction of a read’s mapped accuracy based on its pulse and base file characteristics (peak signal-to-noise ratio, average base QV, interpulse distance, and so on).
Quality Value (QV): The total probability that the basecall is an insertion or substitution or is preceded by a deletion. QV = -10 * log10(p).

## Slide 33: Do I have enough data?
What is my expected genome size?
What depth of coverage should I expect?
  PacBio:
    70x coverage in total from subreads per allele
    At least 30x coverage of reads >10kb per allele
Coverage = Number of bases sequenced / estimated genome size

## Slide 34: Calculating data quantity
Third party scripts
Command line calculation (my favourite way)
  Can use Seqtk to convert and filter on read length
  zcat *.fastq.gz | seqtk seq -A -L 10000 - | grep -v “^>” | tr -dc “ACGTNacgtn” | wc -m
    zcat ( concatenates the compressed fastq files into one stream )
    seqtk ( converts to fasta format and drops reads less than 10k )
    grep ( -v excludes lines starting with “>”, i.e. fasta headers )
    tr ( -dc removes any characters not in set “ACGTNacgtn” )
    wc ( -m counts characters )
  parallel ‘seqtk seq -A -L 10000 {} | grep -v “^>” | tr -dc “ACGTNacgtn” | wc -m’ ::: *.fastq.gz | paste -sd+ | bc -l

## Slide 35: SMRT Portal Report

## Slide 36: SMRT Portal Report

## Slide 37: SMRT Portal Report
SMRT cell loading
  P0: % of ZMWs that are empty with no polymerase
  P1: % of ZMWs that are productive and sequencing
  P2: % of ZMWs that are not P0 or P1 (e.g. unbound polymerase, more than one molecule in a well (overloaded cell)).
  Maximize P1 and minimize P0 + P2.
  High P0 indicates underloading (too low concentration of molecules)
  High P2 indicates overloading (too high concentration) or poor prep.

## Slide 38: Control reads
SMRT portal does not filter out control reads unless the protocol is included.
Control reads are longer than Sample reads indicating good sequencing but bad Sample DNA quality

## Slide 39: Adapter Trimming
SMRTbell adapter:
ATCTCTCTCTTTTCCTCCTCCTCCGTTGTTGTTGTTGAGAGAGAT

## Slide 40: FastQC
Long read sequencing has a higher per base error rate (lower quality score).

## Slide 41: FastQC
Longer reads mean that average GC content per read tends more towards the average GC content of the genome (Sharper peak).

## Slide 42: Read Errors
Quality score is inferred from the light signal.
Strong light signal does not imply correct base calls.

## Slide 43: Nanopore sequencing
Single Molecule sequencing
No fragmentation required, therefore read length is theoretically unlimited. (Pacbio has size selected library)
Support is limited to the ONT community portal.
Limited QC tools.
  Poretools (output summary)
  Porechop (adapters)

## Slide 44: Summary
Illumina
  Md5sum
  Format
  Data Quantity
  Quality Scores
  GC Content
  Nucleotide bias
  Duplication
  Adapter content
  Fragment distribution
PacBio / Nanopore
  Md5sum
  Format
  Data Quantity
  GC Content
  Adapter & Control check
  Subread distribution

## Slide 45: Information on sequence QC issues
Sequencing Fail https://sequencing.qcfail.com
SEQanswers http://seqanswers.com
BioStar https://www.biostars.org
Bioinformatics StackExchange https://bioinformatics.stackexchange.com